Standards：

IEC60092-350

IEC60092-351

IEC60092-352

IEC60092-353

IEC60092-359

IEC60228

IEC60332

Application：

The cable is intended for power, lighting and control system of   shipboard and off-shore building, and it is also available to metallurgical   industry, chemical works, power plant and mine etc.

1-conductorTinned copper wire

2-InsulationXLPE

3-Filler

4-Tape

5-Inner sheath PVC

6-ArmourTinned copper wire or galvanized

7-Outer sheath PVC

| 型号 Type | 名称 Description | 产品标准 Standard |
| --- | --- | --- |
| CJV/DA | 交联聚乙烯绝缘聚氯乙烯护套船用电力电缆，DA型 XLPE insulation PVC sheath shipboard power cable, Type DA | IEC60092-350 IEC60092-353 IEC60332-1 IEC60332-3A |
| CJV80/DA | 交联聚乙烯绝缘聚氯乙烯内套镀锡铜丝编织铠装船用电力电缆，DA型 XLPE insulation PVC inner sheath tinned copper wire braided shipboard power cable, Type DA |  |
| CJV90/DA | 交联聚乙烯绝缘聚氯乙烯内套镀锌钢丝编织铠装船用电力电缆，DA型 XLPE insulation PVC inner sheath galvanized steel wire braided shipboard power cable, Type DA |  |
| CJV82/DA | 交联聚乙烯绝缘聚氯乙烯内套镀锡铜丝编织铠装聚氯乙烯外套船用电力电缆，DA型 XLPE insulation PVC inner sheath tinned copper wire braided PVC outer sheath shipboard power cable, Type DA |  |
| CJV92/DA | 交联聚乙烯绝缘聚氯乙烯内套镀锌钢丝编织铠装聚氯乙烯外套船用电力电缆，DA型 XLPE insulation PVC inner sheath galvanized steel wire braided PVC outer sheath shipboard power cable, Type DA |  |
| CJVR/DA | 交联聚乙烯绝缘聚氯乙烯护套船用电力软电缆，DA型 XLPE insulation PVC sheath shipboard flexible power cable, Type DA |  |
| CJV/SA | 交联聚乙烯绝缘聚氯乙烯护套阻燃船用电力电缆，SA型 XLPE insulation PVC sheath flame-retardant shipboard power cable, Type SA |  |
| CJV80/SA | 交联聚乙烯绝缘聚氯乙烯内套镀锡铜丝编织铠装阻燃船用电力电缆，SA型 XLPE insulation PVC inner sheath tinned copper wire braided flame-retardant shipboard power cable, Type SA |  |
| CJV90/SA | 交联聚乙烯绝缘聚氯乙烯内套镀锌钢丝编织铠装阻燃船用电力电缆，SA型 XLPE insulation PVC inner sheath galvanized steel wire braided flame-retardant shipboard power cable, Type SA |  |
| CJV82/SA | 交联聚乙烯绝缘聚氯乙烯内套镀锡铜丝编织铠装聚氯乙烯外套阻燃船用电力电缆，SA型 XLPE insulation PVC inner sheath tinned copper wire braided PVC outer sheath shipboard power cable, Type SA |  |
| CJV92/SA | 交联聚乙烯绝缘聚氯乙烯内套镀锌钢丝编织铠装聚氯乙烯外套阻燃船用电力电缆，SA型 XLPE insulation PVC inner sheath galvanized steel wire braided PVC outer sheath shipboard power cable, Type SA |  |
| CJVR/SA | 交联聚乙烯绝缘聚氯乙烯护套船用电力软电缆，SA型 XLPE insulation PVC sheath shipboard flexible power cable, Type SA |  |

| 型号 Type | 名称 Description | 产品标准 Standard |
| --- | --- | --- |
| CJVP/DA | 交联聚乙烯绝缘镀锡铜丝编织独立屏蔽聚氯乙烯护套船用电力电缆，DA型 XLPE insulation tinned copper wire braided individual screen PVC sheath shipboard power cable, Type DA | IEC60092-350 IEC60092-353 IEC60332-1 IEC60332-3A |
| CJVP80/DA | 交联聚乙烯绝缘镀锡铜丝编织独立屏蔽聚氯乙烯内套镀锡铜丝编织铠装船用电力电缆，DA型 XLPE insulation tinned copper wire braided individual screen PVC inner sheath tinned copper wire braided shipboard power cable, Type DA |  |
| CJVP90/DA | 交联聚乙烯绝缘镀锡铜丝编织独立屏蔽聚氯乙烯内套镀锌钢丝编织铠装船用电力电缆，DA型 XLPE insulation tinned copper wire braided individual screen PVC inner sheath galvanized steel wire braided shipboard power cable, Type DA |  |
| CJVP82/DA | 交联聚乙烯绝缘镀锡铜丝编织独立屏蔽聚氯乙烯内套镀锡铜丝编织铠装聚氯乙烯外套船用电力电缆，DA型 XLPE insulation tinned copper wire braided individual screen PVC inner sheath tinned copper wire braided PVC outer sheath shipboard power cable, Type DA |  |
| CJVP92/DA | 交联聚乙烯绝缘镀锡铜丝编织独立屏蔽聚氯乙烯内套镀锌钢丝编织铠装聚氯乙烯外套船用电力电缆，DA型 XLPE insulation tinned copper wire braided individual screen PVC inner sheath galvanized steel wire braided PVC outer sheath shipboard power cable, Type DA |  |
| CJVP/SA | 交联聚乙烯绝缘镀锡铜丝编织独立屏蔽聚氯乙烯护套阻燃船用电力电缆，SA型 XLPE insulation tinned copper wire braided individual screen PVC sheath flame-retardant shipboard power cable, Type SA |  |
| CJVP80/SA | 交联聚乙烯绝缘镀锡铜丝编织独立屏蔽聚氯乙烯内套镀锡铜丝编织铠装阻燃船用电力电缆，SA型 XLPE insulation tinned copper wire braided individual screen PVC inner sheath tinned copper wire braided flame-retardant shipboard power cable, Type SA |  |
| CJVP90/SA | 交联聚乙烯绝缘镀锡铜丝编织独立屏蔽聚氯乙烯内套镀锌钢丝编织铠装阻燃船用电力电缆，SA型 XLPE insulation tinned copper wire braided individual screen PVC inner sheath galvanized steel wire braided flame-retardant shipboard power cable, Type SA |  |
| CJVP82/SA | 交联聚乙烯绝缘镀锡铜丝编织独立屏蔽聚氯乙烯内套镀锡铜丝编织铠装聚氯乙烯外套阻燃船用电力电缆，SA型 XLPE insulation tinned copper wire braided individual screen PVC inner sheath tinned copper wire braided PVC outer sheath shipboard power cable, Type SA |  |
| CJVP92/SA | 交联聚乙烯绝缘镀锡铜丝编织独立屏蔽聚氯乙烯内套镀锌钢丝编织铠装聚氯乙烯外套阻燃船用电力电缆，SA型 XLPE insulation tinned copper wire braided individual screen PVC inner sheath galvanized steel wire braided PVC outer sheath shipboard power cable, Type SA |  |